## Sensor Pairing Sheet
Sensor ID | RFID | Serial Number | Device Type | Device Name | Device Label | Equipement | Sensor Position | Measured Point | Cubicle ID | Cubicle Type | Feeder ID | Circuit Breaker ID | Drawer ID
101 | 0xff9a082c | FL2025W18100064 | CL110 | SW10 | SW01 | LVSwitchboard | LVCableCompartment | Ambient | 1 | None
102 | 0xff9a083f | FL2025W18100083 | CL110 | CL110 | SW02 | LVSwitchboard | LVCableCompartment | Ambient | 2 | None
103 | 0xff9a0869 | FL2025W18100125 | CL110 | CL110 | SW03 | LVSwitchboard | LVCableCompartment | Ambient | 3 | None
104 | 0xff9a0827 | FL2025W18100059 | CL110 | CL110 | SW04 | LVSwitchboard | LVCableCompartment | Ambient | 4 | None
105 | 0xff9a04e8 | FL2025W17300257 | CL110 | CL110 | SW05 | LVSwitchboard | LVCableCompartment | Ambient | 5 | None
106 | 0xff9a07fd | FL2025W18100017 | CL110 | CL110 | SW06 | LVSwitchboard | LVCableCompartment | Ambient | 6 | None
107 | 0xff9a0860 | FL2025W18100116 | CL110 | CL110 | SW07 | LVSwitchboard | LVCableCompartment | Ambient | 7 | None
108 | 0xff9a080f | FL2025W18100035 | CL110 | CL110 | SW08 | LVSwitchboard | LVCableCompartment | Ambient | 8 | None
201 | 0xff44513d | FT2024W49201706 | TH110 | SW1_1 | SW1_1 | LVSwitchboard | LVIncomerCBDownstream1 | Phase1 | 13 | None |  | 1
202 | 0xff444fa6 | FT2024W49201714 | TH110 | SW1_2 | SW1_2 | LVSwitchboard | LVIncomerCBDownstream1 | Phase2 | 13 | None |  | 1
203 | 0xff445d5e | FT2024W49403408 | TH110 | SW1_3 | SW1_3 | LVSwitchboard | LVIncomerCBDownstream1 | Phase3 | 13 | None |  | 1
220 | 0xb4e3f9fffe8edfff | RN23433010004 | HeatTag | HeatTag | HeatT | LVSwitchboard | LVColumn | Ambient | 1 | Incomer
109 | 0xff9a080b | FL2025W18100031 | CL110 | CL110 | SW09 | LVSwitchboard | LVCableCompartment | Ambient | 9 | None
110 | 0xff91d72a | FL2023W42400195 | CL110 | CL110 | SW10 | LVSwitchboard | LVCableCompartment | Ambient | 10 | None
111 | 0xff9a08cd | FL2025W18100225 | CL110 | CL110 | SW11 | LVSwitchboard | LVCableCompartment | Ambient | 11 | None
112 | 0xff91d71f | FL2023W42400184 | CL110 | CL110 | SW12 | LVSwitchboard | LVCableCompartment | Ambient | 12 | None