## Modbus Export
DeviceID | DeviceType | RFID | SerialNumber | DeviceName | DeviceLabel | Battery Voltage | RF Communication Validity | Communication Status | Gateway PER | RSSI | LQI | PER Max | RSSI Min | LQI Min | Signal Quality | HeatTag Alarm Type | HeatTag Alarm Level | HeatTag Operation Mode
101 | CL110 | FF9A082C | FL2025W18100064 | SW10 | SW01 | 2.9 | Valid | Communication OK | 0 | -41 | 168 | 0 | -41 | 168 | Excellent
102 | CL110 | FF9A083F | FL2025W18100083 | CL110 | SW02 | 2.9 | Valid | Communication OK | 5 | -47 | 168 | 5 | -47 | 168 | Excellent
103 | CL110 | FF9A0869 | FL2025W18100125 | CL110 | SW03 | 2.9 | Valid | Communication OK | 0 | -41 | 168 | 0 | -41 | 168 | Excellent
104 | CL110 | FF9A0827 | FL2025W18100059 | CL110 | SW04 | 2.9 | Valid | Communication OK | 0 | -47 | 168 | 0 | -47 | 168 | Excellent
105 | CL110 | FF9A04E8 | FL2025W17300257 | CL110 | SW05 | 2.9 | Valid | Communication OK | 0 | -53 | 168 | 0 | -53 | 168 | Excellent
106 | CL110 | FF9A07FD | FL2025W18100017 | CL110 | SW06 | 2.9 | Valid | Communication OK | 0 | -57 | 168 | 0 | -57 | 168 | Excellent
107 | CL110 | FF9A0860 | FL2025W18100116 | CL110 | SW07 | 2.9 | Valid | Communication OK | 0 | -47 | 168 | 0 | -47 | 168 | Excellent
108 | CL110 | FF9A080F | FL2025W18100035 | CL110 | SW08 | 2.9 | Valid | Communication OK | 0 | -41 | 168 | 0 | -41 | 168 | Excellent
201 | TH110 | FF44513D | FT2024W49201706 | SW1_1 | SW1_1 |  | Valid | Communication loss |  |  | 65535 |  |  | 65535 | Unknown
202 | TH110 | FF444FA6 | FT2024W49201714 | SW1_2 | SW1_2 |  | Valid | Communication loss |  |  | 65535 |  |  | 65535 | Unknown
203 | TH110 | FF445D5E | FT2024W49403408 | SW1_3 | SW1_3 |  | Valid | Communication loss |  |  | 65535 |  |  | 65535 | Unknown
220 | HeatTag | B4E3F9FF | RN23433010004 | HeatTag | HeatT |  | Valid | Communication loss |  |  | 65535 |  |  | 65535 | Unknown | No alarm | No alarm | Unknown (65535)
109 | CL110 | FF9A080B | FL2025W18100031 | CL110 | SW09 | 3 | Valid | Communication OK | 5 | -43 | 168 | 5 | -43 | 168 | Excellent
110 | CL110 | FF91D72A | FL2023W42400195 | CL110 | SW10 | 2.9 | Valid | Communication OK | 5 | -35 | 168 | 5 | -35 | 168 | Excellent
111 | CL110 | FF9A08CD | FL2025W18100225 | CL110 | SW11 | 3 | Valid | Communication OK | 0 | -39 | 168 | 0 | -39 | 168 | Excellent
112 | CL110 | FF91D71F | FL2023W42400184 | CL110 | SW12 | 2.9 | Valid | Communication OK | 0 | -35 | 168 | 0 | -35 | 168 | Excellent